E 006/RESEARCH/ZOOLOGY/12/03/2019

- Refrigerator 200 – 260 Ltrs. Double door.

- Sterifil Aseptic System & Holder(Filtration Assembly) [Milipore].

- Samsung Xpress M2876ND MFP Printer.

- Proteome profiler Human Phospho - Kinase Array Kit (R & D systems).

- Proteome profiler Human Cytokine Array Kit (R & D systems).

- High Speed Mini-Centrifuge

- Speed 500-12,500 RPM

- RCF;15-9,800XG

- TIMER RANGE 1-30 MIN

- 12 PLACE 1.5/2.0 ML TUBE ROTOR

- 32 PLACE 0.2 ML TUBE ROOT(SINGLES, OR 4X8 STRIP)

- 12 TUBE ADAPTERS 0.2 ML

- 12 TUBE ADAPTERS 0.5 ML

- UNIVERSAL DOUBLE INSULATED, POWER ADAPTOR 11-240 V 50/60 HZ, WITH 4 INTERCHANGEBLE CORD TYPES